## quantbim_basic_hu
Number | Favorite | Name | Main Specs | Auto Quantity | Unit | Description | Material Price | Labor Price | Classification | Supplier | Updated | Date | Unit man-hours | BIM_custom_5 | Custom Classification 1 | Custom Classification 2 | Custom Classification 3
0 | No | QuantBIM Basic EN
1 | No | Design and Preparation
1.1 | No | Design Fees
1.1.1 | No | Soil Mechanics and Geotechnics
1.1.1.1 | No | Geotechnical Boreholes and Investigations
1.1.1.2 | No | Laboratory Tests
1.1.1.3 | No | Geotechnical Assessment Report
1.1.1.4 | No | Geodetic Surveys and Mapping
1.1.2 | No | Road Design
1.1.2.1 | No | Road Design
1.1.2.2 | No | Temporary traffic management
1.1.3 | No | Utilities design
1.1.3.1 | No | Water Network Design
1.1.3.2 | No | Sewerage Network Design
1.1.3.3 | No | Stormwater Drainage Design
1.1.3.4 | No | Drain maintenance / As-built drainage
1.1.3.5 | No | Water rights permitting
1.1.4 | No | Structural Design
1.1.4.1 | No | Permit Design Documents
1.1.4.2 | No | Construction Design Documents
1.1.4.2.1 | No | Steel Structure Working Drawings
1.1.4.2.2 | No | RC Structural Working Drawings
1.1.4.2.3 | No | Timber Structure Working Drawings
1.1.5 | No | Architecture
1.1.5.1 | No | Design Brief Preparation
1.1.5.2 | No | Concept Designs
1.1.5.3 | No | Permit Design Documents
1.1.5.3.1 | No | Urban Image Review
1.1.5.3.2 | No | Building Permit Approval
1.1.5.4 | No | Construction Design Documents
1.1.6 | No | Power (high-current)
1.1.6.1 | No | Switchgear Cabinet Design
1.1.6.2 | No | Network Design
1.1.7 | No | Low-current / data
1.1.7.1 | No | IT network system
1.1.7.2 | No | Safety Net Design
1.1.7.3 | No | AV and sound technology
1.1.8 | No | Building Services (MEP)
1.1.8.1 | No | Water Network Design
1.1.8.2 | No | Sewerage Network Design
1.1.8.3 | No | Stormwater Drainage Design
1.1.8.4 | No | Heating Design
1.1.8.5 | No | Cooling Design
1.1.8.6 | No | Ventilation
1.1.9 | No | Automation
1.1.10 | No | Building diagnostics
1.1.10.1 | No | Physical Inspections and CCTV Surveys
1.1.10.2 | No | Heritage Survey
1.1.10.3 | No | Timber Protection Assessment
1.1.10.4 | No | Utility Surveys
1.1.11 | No | BIM
1.2 | No | Authority and Other Fees
1.2.1 | No | Authority Approvals
1.2.1.1 | No | Network Development Fees
1.2.1.1.1 | No | Water
1.2.1.1.2 | No | Drainage / Sewer
1.2.1.1.3 | No | Electrical
1.2.1.1.4 | No | District heating
1.2.1.1.5 | No | Gas
1.2.1.2 | No | Authority Inspection Fees
1.2.1.2.1 | No | Gas and Electrical
1.2.1.2.2 | No | Utility meter connection
1.2.1.2.3 | No | Water pressure testing and accreditation
1.2.1.2.4 | No | Gas authority inspection
1.2.1.2.5 | No | Water supply and drainage works
1.2.1.3 | No | Mandatory Measurements (soil compaction)
1.2.1.3.1 | No | Soil Compaction Degree
1.2.1.3.2 | No | Earthing / Grounding
1.2.1.3.3 | No | Lightning protection
1.2.1.3.4 | No | Insulation, noise and vibration control
1.2.1.3.5 | No | Chimney sweep / flue inspection
1.2.2 | No | Engineering Services
1.2.2.1 | No | Design Supervision
1.2.2.2 | No | Interim Drawing Production
1.2.2.3 | No | Owner's Representative / Technical Inspector
1.2.2.4 | No | As-Built Documentation
1.2.2.5 | No | Technical Inspection Measurements
1.2.2.6 | No | Heritage Condition Assessment
2 | No | Work area and infrastructure
2.1 | No | Temporary Works
2.1.1 | No | Temporary installations
2.1.1.1 | No | Temporary roads
2.1.1.2 | No | Temporary utilities
2.1.1.2.1 | No | Temporary electricity connection
2.1.1.2.2 | No | Temporary water connection
2.1.1.2.3 | No | Temporary sewer connection
2.1.1.2.4 | No | Construction energy supply
2.1.1.3 | No | Temporary Site Facilities
2.1.1.3.1 | No | Fencing
2.1.1.3.2 | No | Occupational safety
2.1.1.3.3 | No | WC / Sanitary fittings
2.1.1.3.4 | No | Site container / welfare unit
2.1.2 | No | Scaffolding
2.1.2.1 | No | Rolling scaffold / Mobile tower scaffold
2.1.2.1.1 | No | Rolling scaffold / Mobile tower scaffold |  |  | db | Rolling scaffold, 2.50×0.75 m platform, 2.00 kN/m² load capacity, 8.6 m platform height (type: 741226) | 26.7 | 37.1 |  |  |  |  | 1.67
2.1.2.2 | No | Trestle scaffold
2.1.2.2.1 | No | Trestle scaffold, small trestle |  |  | m² | Trestle scaffold with board decking, timber, 2.00 kN/m² load capacity, up to 1.50 m height, small trestles | 0.4 | 7.8 |  |  |  |  | 0.35
2.1.2.2.2 | No | Trestle scaffold, large trestle |  |  | m² | Trestle scaffold with board decking, timber, 2.00 kN/m² load capacity, up to 1.50 m height, raised small trestles | 0.6 | 9.1 |  |  |  |  | 0.41
2.1.2.3 | No | Interior scaffolding
2.1.2.3.1 | No | Interior scaffold, single-board-level |  |  | m² | Single-board-level interior scaffold with board decking, guardrail and toe board, per MSZ and application manual, platform height 3.01–10.00 m, timber | 1.1 | 24.2 |  |  |  |  | 1.09
2.1.2.3.2 | No | Interior scaffold, multi-board-level |  |  | m² | Multi-level interior tube scaffold without board decking, per MSZ and application manual, platform height 3.01–10.00 m | 2.3 | 18.9 |  |  |  |  | 0.85
2.1.2.4 | No | Facade tube scaffold
2.1.2.4.1 | No | Facade tube scaffold (0.90 m width), below 6.00 m |  |  | m² | Facade tube scaffold erected from scaffold tubes as working scaffold, per-level board decking, guardrail, toe board, two-legged, 0.60–0.90 m platform width, 2.00 m platform spacing, 2.00 kN/m² load capacity, per MSZ and application manual, up to 6.00 m platform height | 0.7 | 8.4 |  |  |  |  | 0.38
2.1.2.4.2 | No | Facade tube scaffold (0.90 m width), above 6.00 m |  |  | m² | Facade tube scaffold erected from scaffold tubes as working scaffold, per-level board decking, guardrail, toe board, two-legged, 0.60–0.90 m platform width, 2.00 m platform spacing, 2.00 kN/m² load capacity, per MSZ and application manual, 12.01–24.00 m platform height | 0.7 | 10.2 |  |  |  |  | 0.46
2.1.2.4.3 | No | Facade tube scaffold (1.50 m width), below 6.00 m |  |  | m² | Facade tube scaffold erected from scaffold tubes as working scaffold, per-level board decking, guardrail, toe board, three-legged, 0.91–1.50 m platform width, 2.00 m platform spacing, 2.00 kN/m² load capacity, per MSZ and application manual, up to 20.00 m platform height | 1 | 11.6 |  |  |  |  | 0.52
2.1.2.4.4 | No | Facade tube scaffold (1.50 m width), above 6.00 m |  |  | m² | Facade tube scaffold erected from scaffold tubes on suspended corridor as working scaffold, per-level board decking, guardrail, toe board, two-legged cantilever type with required tube substitutions, 0.90–1.20 m platform width, 2.00 m platform spacing, 2.00 kN/m² load capacity, per MSZ and application manual, up to 6.00 m platform height | 1.2 | 9.1 |  |  |  |  | 0.41
2.1.2.5 | No | Facade frame scaffold
2.1.2.5.1 | No | Facade frame scaffold, below 6.00 m |  |  | m² | Facade frame scaffold from metal frame structure, per-level board decking, guardrail, toe board, 0.70–1.20 m platform width, 2.50–3.00 m platform spacing, per MSZ and application manual, up to 6.00 m platform height, 2.00 kN/m² load capacity, 0.75 m platform width, up to 6.00 m | 2.1 | 4 |  |  |  |  | 0.18
2.1.2.5.2 | No | Facade frame scaffold, above 6.00 m |  |  | m² | Facade frame scaffold from metal frame structure, per-level board decking, guardrail, toe board, 0.70–1.20 m platform width, 2.50–3.00 m platform spacing, per MSZ and application manual, 6.01–12.00 m platform height, 2.00 kN/m² load capacity, 0.75 m platform width | 2.1 | 4.9 |  |  |  |  | 0.22
2.1.2.5.3 | No | Facade frame scaffold, above 12.00 m |  |  | m² | Facade frame scaffold from metal frame structure, per-level board decking, guardrail, toe board, 0.70–1.20 m platform width, 2.50–3.00 m platform spacing, per MSZ and application manual, 12.01–24.00 m platform height, 2.00 kN/m² load capacity, 0.75 m platform width | 2.1 | 5.8 |  |  |  |  | 0.26
2.1.2.5.4 | No | Cantilever scaffold |  |  | m | Cantilever scaffold, 2.00 kN/m² load capacity, 1.00 m projection, on facade metal frame scaffold, to widen platform on inner side, 0.75 m width | 3.9 | 4.4 |  |  |  |  | 0.2
2.1.2.6 | No | Space scaffold / 3D scaffold
2.1.2.6.1 | No | Space scaffold, below 3.00 m |  |  | m² | Space scaffold from frame scaffold system as working or protective scaffold, board decking, guardrail, toe board, per MSZ and application manual, 2.00 kN/m² load capacity, up to 3.00 m platform height | 0 | 7.1 |  |  |  |  | 0.32
2.1.2.6.2 | No | Space scaffold, below 6.00 m |  |  | m² | Space scaffold from frame scaffold system as working or protective scaffold, board decking, guardrail, toe board, per MSZ and application manual, 2.00 kN/m² load capacity, up to 6.00 m platform height | 0 | 8 |  |  |  |  | 0.36
2.1.2.7 | No | Formwork Accessories
2.1.2.7.1 | No | Protective roof / canopy
2.1.2.7.1.1 | No | Protective canopy construction |  |  | m² | Protective canopy construction on facade frame scaffold | 4.9 | 11.6 |  |  |  |  | 0.52
2.1.2.7.2 | No | Safety curtain / Safety netting
2.1.2.7.2.1 | No | Safety curtain — plastic mesh net |  |  | m² | Plastic mesh net installation on scaffold structure | 0 | 2.4 |  |  |  |  | 0.11
2.1.2.7.2.2 | No | Safety curtain — safety debris net |  |  | m² | Safety debris net installation on scaffold structure | 1.1 | 8.2 |  |  |  |  | 0.37
2.1.2.7.3 | No | Putlog scaffold
2.1.2.7.3.1 | No | Putlog scaffold |  |  | m² | Putlog scaffold made of timber, through opening, with board decking, guardrail and toe board | 2.5 | 26.7 |  |  |  |  | 1.2
2.1.3 | No | Construction Machinery
2.1.3.1 | No | Crane rails / Crane runways
2.1.3.1.1 | No | Tower cranes
2.1.3.1.2 | No | Mobile crane
2.1.3.1.3 | No | Construction hoists and lifts
2.1.3.1.3.1 | No | Goods hoist
2.1.3.1.3.2 | No | Scissor lift
2.1.3.1.3.3 | No | Work platforms and cherry pickers
2.1.3.1.3.4 | No | Construction winches
2.1.3.2 | No | Earthmoving Machine
2.1.3.3 | No | Hoisting and loading machines
2.1.3.3.1 | No | Heavy machinery
2.1.3.3.1.1 | No | Crawler / Tracked
2.1.3.3.1.2 | No | Rubber-tyred
2.1.3.3.2 | No | Other equipment
2.1.3.3.2.1 | No | Mobile crushing and screening equipment
2.1.3.4 | No | Concrete Pumps
2.1.3.4.1 | No | Stationary concrete pump
2.1.3.4.2 | No | Mobile concrete pump
2.1.4 | No | Cost Reimbursements
2.1.4.1 | No | Land Use Fees
2.1.4.1.1 | No | Chimney sweep / flue inspection
2.1.4.1.2 | No | Gas
2.1.4.2 | Yes | Mobilization Fees |  | Unit | klt |  | 0 | 0
2.1.4.3 | No | Occupational health and safety
2.1.4.4 | No | Security and property protection
2.1.4.5 | No | Cleaning works (final clean)
2.1.4.6 | No | Transport and Handling Fees
2.2 | No | Demolition
2.2.1 | No | Manual demolition works (with small machines)
2.2.2 | No | Mechanical demolition works
2.2.2.2 | No | Demolition material sorting and classification
2.2.2.2.1 | No | Manual sorting and classification of waste
2.2.2.2.2 | No | Machine sorting and classification of waste | with supplementary manual labor
2.2.3 | No | Recycling works
2.2.3.2 | No | Machine sorting and classification of recyclable materials
2.2.3.3 | No | Manual sorting and classification of recyclable materials | with supplementary manual labor
2.2.4 | No | Dust and dry airborne material suppression
2.2.5 | No | Demolition waste transport
2.2.5.1 | No | Sorted demolition rubble
2.2.5.2 | No | Excavated soil from demolition
2.2.5.3 | No | Demolished metal waste
2.2.5.4 | No | Demolished plastic waste
2.2.5.5 | No | Demolished timber waste
2.2.5.6 | No | Mixed construction and demolition waste
2.2.5.7 | No | Hazardous demolition waste | approved waste disposal site
2.3 | No | Earthworks
2.3.1 | No | Dewatering
2.3.2 | Yes | Earthworks
2.3.2.1 | No | Site levelling
2.3.2.1.1 | No | Topsoil Stripping | On flat ground |  | m³ | Topsoil stripping by machine on flat ground, stockpiled on site. | 0 | 2.8 |  |  |  |  | 0
2.3.2.2 | No | Utilities
2.3.2.2.1 | No | Excavation
2.3.2.2.1.1 | No | Working trench excavation, cross-section below 2.0 m² |  |  | m³ | Working trench excavation in utilities area, by hand, any consistency soil, without shoring, up to 2.0 m² cross-section, soil class I–II | 0 | 24.4 |  |  |  |  | 1.09
2.3.2.2.1.2 | No | Working trench excavation, cross-section above 2.0 m² |  |  | m³ | Working trench excavation in area without utilities, by machine with supplementary manual labour, any consistency I–IV class soil, without shoring, up to 3.0 m² cross-section | 0 | 16.1 |  |  |  |  | 0.63
2.3.2.2.2 | No | Backfilling
2.3.2.2.2.1 | No | Working trench backfilling |  |  | m³ | Backfilling into excavation pit or working trench, without compaction, in layers, I–IV class soil, by machine, material within 10.0 m, in the cross-section beyond 50 cm around the utility (structure) | 0 | 7.8 |  |  |  |  | 0.3
2.3.2.3 | No | Structures and buildings
2.3.2.3.1 | No | Excavation
2.3.2.3.1.1 | Yes | By machine with supplementary manual labour |  | Earthwork mass, volume | m³ | Excavation pit for buildings and structures in any consistency I–IV class soil, by machine with supplementary manual labour, base area 150.0–250.0 m², up to 5.5 m depth | 0 | 7.2 |  |  |  |  | 0.18
2.3.2.3.2 | No | Backfilling and Embankments
2.3.2.3.2.1 | Yes | NHK 0/63 gravel, incl. delivery |  | Volume | m³ | Soil improvement layer for buildings and structures using ungraded gravel (NHK 0/63), without compaction or surface levelling | 12.8 | 10.6 |  |  |  |  | 0.2
2.3.2.3.3 | No | Supplementary activities
2.3.2.3.3.1 | Yes | Compaction |  | Volume | m³ | Compaction by machine over large areas, any compaction class, 90% compaction degree | 0 | 1.6 |  |  |  |  | 0
2.3.2.3.3.2 | Yes | Subgrade Levelling |  | Area | m² | Subgrade levelling without compaction on flat surface, by machine with supplementary manual labour | 0 | 1.7 |  |  |  |  | 0.01
2.3.2.3.4 | No | Earth Moving
2.3.2.3.4.1 | Yes | Earth Pushing / Dozing |  | Earthwork mass, volume | m³ | Excavated earth pushing and spreading, up to 20.0 m distance | 0 | 1.8 |  |  |  |  | 0
2.3.2.3.4.2 | No | Earth Loading |  |  | m³ | Loading excavated earth onto transport vehicle by machine | 0 | 2.4 |  |  |  |  | 0
2.3.2.3.4.3 | No | Earth Moving |  |  | m³ | Moving excavated earth by machine, up to 10.0 m distance, 4.0 m depth, 6.0 m height | 0 | 2.4 |  |  |  |  | 0
2.3.2.3.5 | No | Soil Stabilisation
2.3.2.3.5.1 | No | Geotextiles
2.3.2.3.5.1.1 | No | 300 g/m² |  |  | m² | Soil stabilisation with woven geotextile reinforcement, PET, 300 g/m², tensile strength: 100/100 kN/m, roll size: 5.4 × 200 m | 2.4 | 1.1 |  |  |  |  | 0.05
2.3.2.3.5.1.2 | No | 250 g/m² |  |  | m² | Soil stabilisation with woven geotextile reinforcement, PP, 278 g/m², tensile strength: 68/68 kN/m, roll size: 5.15 × 100 m | 1.8 | 1.1 |  |  |  |  | 0.05
2.3.2.3.5.1.3 | No | 150 g/m² |  |  | m² | Soil stabilisation with woven geotextile reinforcement, PP, 186 g/m², tensile strength: 41/41 kN/m, roll size: 5.15 × 100 m | 1.2 | 1.1 |  |  |  |  | 0.05
2.4 | No | Utilities
2.4.1 | No | Electrical utilities connection
2.4.2 | No | Water network utility connection
2.4.3 | No | Sewerage network connection
2.4.4 | No | Stormwater drain connection
2.5 | No | Road construction
2.5.1 | No | Road construction
2.5.2 | No | External paving
2.5.3 | No | Landscaping
3 | No | Load-bearing structure
3.1 | No | Precast Elements
3.1.1 | Yes | Precast RC floor slab |  |  | m² | Precast half-slab floor panel placement and assembly, up to 5.0 t lifting weight per manufacturer's instructions, with wall supports, without flat-tooth connections. | 0 | 0
3.1.2 | Yes | Precast RC inclined slab element |  |  | m² | Precast RC form-panel inclined element placement and assembly, up to 1.0 t lifting weight per manufacturer's instructions, without flat-tooth connections. | 0 | 0
3.1.3 | Yes | Precast RC wall |  |  | m² | Precast half-slab wall panel placement and assembly, up to 5.0 t lifting weight per manufacturer's instructions, with wall supports, without flat-tooth connections. | 0 | 0
3.1.4 | Yes | Precast RC staircase |  |  | m³ | Precast RC staircase installation for buildings; gravel concrete mix per manufacturer's spec (reinforcement separate item), including neoprene bearing pads (stair flight–slab, stair flight–wall) | 0 | 0
3.1.5 | Yes | Precast half-slab rib / lintel |  |  | m² | Precast half-slab rib/lintel placement and assembly, up to 5.0 t lifting weight per manufacturer's instructions, with wall supports installed, without flat-tooth connections. | 0 | 0
3.2 | No | Civil / Underground Construction
3.2.1 | No | Pile foundation
3.2.2 | No | Well foundation
3.2.3 | No | Retaining walls
3.2.4 | No | Diaphragm and sheet pile walls
3.3 | No | Concreting Works
3.3.1 | No | Concrete Structures |  |  |  | Surcharges for various concrete types by exposure class, consistency, and admixtures. Recommended related item: 2.1.3 Machinery – Concrete pumps, Hoists, Concreting containers
3.3.1.1 | No | Concrete grades
3.3.1.1.1 | No | C8/10 | Blinding concrete |  |  | Blinding concrete placement up to 8 cm thick, C8/10 | 82.7 | 80.9
3.3.1.1.2 | Yes | C12/15 | Blinding concrete | Volume |  | Blinding concrete placement up to 8 cm thick, C12/15 | 93 | 80.9
3.3.1.1.3 | No | C16/20 |  |  |  |  | 93.6 | 24.9
3.3.1.1.4 | Yes | C20/25 |  | Volume |  |  | 94.2 | 24.9
3.3.1.1.5 | Yes | C25/30 |  | Volume |  |  | 97.2 | 24.9
3.3.1.1.6 | Yes | C30/37 |  | Volume (net) |  |  | 102.2 | 24.9
3.3.1.2 | No | Screed concrete
3.3.1.2.1 | No | Bonded screed / C12 |  |  | m² | Bonded or unbonded screed, site-mixed cement-based, C12 strength class, 5 cm thickness | 3.9 | 2 |  |  |  |  | 0.06
3.3.1.2.2 | No | Bonded screed / C16 |  |  | m² | Bonded or unbonded screed, site-mixed cement-based, C16 strength class, 5 cm thickness | 4.6 | 2 |  |  |  |  | 0.06
3.3.1.2.3 | No | Floating screed / C12 |  |  | m² | Floating or underfloor heating screed, site-mixed cement-based, C12 strength class, 6 cm thickness | 4.7 | 2 |  |  |  |  | 0.06
3.3.1.2.4 | No | Floating screed / C16 |  |  | m² | Floating or underfloor heating screed, site-mixed cement-based, C16 strength class, 6 cm thickness | 5.5 | 2 |  |  |  |  | 0.06
3.3.2 | No | Rebar installation
3.3.2.1 | Yes | 12-20 mm |  | Weight (rebar) | kg | In-situ rebar installation in vertical or horizontal structural member, ribbed bar Ø12–20 mm, 12 m lengths, B500B | 0.7 | 0.9 |  |  |  |  | 41.3
3.3.2.2 | No | 22-40 mm |  |  | kg | In-situ rebar installation in vertical or horizontal structural member, ribbed bar Ø22–40 mm, 12 m lengths, B500B | 0.7 | 0.6 |  |  |  |  | 25.5
3.3.2.3 | No | Welded mesh |  |  | kg | Welded wire mesh installation in structural member; flat mesh 5.00 × 2.15 m; 150 × 150 mm spacing Ø10.0/10.0 B500A (BHB55.50) | 0.8 | 0.3 |  |  |  |  | 14.18
3.3.3 | No | Formwork |  |  |  | Slab, wall, column and beam formwork. Supplements: staircase, ring beam, openings. Recommended related items: 2.1.1.3 – Scaffolding (Temporary Works)
3.3.3.1 | No | Strip and pad footings
3.3.3.1.1 | No | Strip footing, single-sided, max. 0.8 m |  |  | m² | Strip footing single-sided formwork with timber, max. 0.8 m height | 4.2 | 20.4 |  |  |  |  | 0.92
3.3.3.1.2 | No | Strip footing, double-sided, max. 0.8 m |  |  | m² | Strip footing double-sided formwork with timber, max. 0.8 m height | 3.6 | 17.8 |  |  |  |  | 0.8
3.3.3.1.3 | Yes | Column footing, four-sided |  | Formwork, Pad footings | m² | Column footing four-sided formwork with timber, vertical or inclined face | 4.6 | 20.4 |  |  |  |  | 0.92
3.3.3.2 | No | Flat slab formwork
3.3.3.2.1 | Yes | Flat slab formwork with shoring, shell panel, below 4.00 m |  | Area | m² | Flat slab formwork with shoring, shell panel, below 4.00 m, for cast-in-place slab | 3.3 | 18.9 |  |  |  |  | 0.85
3.3.3.2.2 | No | Flat slab formwork with shoring, 4.00–6.00 m height |  |  | m² | Flat slab formwork with shoring, shell panel, 4.00–6.00 m height, for panel-form slab | 3.3 | 25.6 |  |  |  |  | 1.15
3.3.3.2.3 | No | Flat slab formwork, up to 15 cm width |  |  | m² | Flat slab formwork with timber, narrow strip up to 15 cm width | 5 | 3.8 |  |  |  |  | 0.17
3.3.3.2.4 | Yes | Flat slab, slab edge formwork |  | Formwork, Edge slab |  | Slab edge formwork, vertical or inclined face, with slab openings, max. 40 cm height | 4 | 15
3.3.3.2.5 | Yes | Single-sided inclined slab formwork |  |  | m² | Single-sided inclined slab formwork with shoring, shell panel, 4.00–6.00 m height, for panel-form slab | 4.4 | 30
3.3.3.2.6 | Yes | Double-sided inclined slab formwork |  |  | m² | Double-sided inclined slab formwork with shoring, shell panel, 4.00–6.00 m height, for panel-form slab | 10.6 | 41.1
3.3.3.3 | No | Wall Formwork
3.3.3.3.1 | No | Single-sided wall formwork |  |  | m² | Single-sided wall formwork, vertical or inclined face, panel formwork, hand-shifted, with prop frame, anchored, up to 4.00 m height | 2.7 | 35.6 |  |  |  |  | 1.6
3.3.3.3.2 | Yes | Double-sided wall formwork |  | Formwork, Double-sided wall | m² | Double-sided wall formwork, vertical or inclined face (measured as formwork surface in contact with concrete, m²), panel formwork, hand-shifted, up to 4.00 m height | 4.1 | 20.4 |  |  |  |  | 0.92
3.3.3.4 | No | Column formwork
3.3.3.4.1 | Yes | Column formwork, below 4.00 m |  | Manual | m² | Column formwork, constant rectangular cross-section, panel formwork, hand-shifted, with bracing, up to 4.00 m height, max. 85 cm side dimension | 6.8 | 22.2 |  |  |  |  | 1
3.3.3.4.2 | No | Column formwork, above 4.00 m |  |  | m² | Column formwork, constant rectangular cross-section, panel formwork, hand-shifted, with bracing, 4.00–6.00 m height, max. 85 cm side dimension | 6.8 | 11.1 |  |  |  |  | 0.5
3.3.3.5 | No | Beam formwork
3.3.3.5.1 | No | Beam formwork, below 40 cm |  | Formwork, Beam | m² | Beam formwork, side height up to 40 cm, panel formwork with shoring, combined with slab formwork, up to 4.00 m | 4.4 | 27.8 |  |  |  |  | 1.25
3.3.3.5.2 | No | Beam formwork, below 60 cm |  |  | m² | Beam formwork, 40–60 cm side height, panel formwork without shoring, independent of slab formwork, above 6.00 m | 5 | 35.6 |  |  |  |  | 1.6
3.3.3.5.3 | No | Beam formwork, above 60 cm |  |  | m² | Beam formwork, side height above 60 cm, panel formwork with shoring, independent of slab formwork, up to 4.00 m | 4.6 | 40 |  |  |  |  | 1.8
3.3.3.5.4 | No | Beam formwork, above 60 cm, 4.00–6.00 m height |  |  | m² | Beam formwork, side height above 60 cm, panel formwork with shoring, independent of slab formwork, 4.00–6.00 m height | 6 | 46.7 |  |  |  |  | 2.1
3.3.3.6 | No | Ring beam formwork
3.3.3.6.1 | No | Ring beam formwork without cornice |  |  | m² | Ring beam formwork, independent, without cornice | 2.5 | 20.9 |  |  |  |  | 0.94
3.3.3.6.2 | No | Ring beam formwork with cornice |  |  | m² | Ring beam formwork, independent, with cornice | 3 | 33.1 |  |  |  |  | 1.49
3.3.3.7 | No | Staircase formwork
3.3.3.7.1 | No | Straight-flight staircase, timber formwork |  |  | m² | Straight-flight staircase formwork with shoring, up to 4.00 m height, treads and strings included, timber formwork | 3.7 | 36.2 |  |  |  |  | 1.63
3.3.3.7.2 | No | Straight-flight staircase, steel formwork |  |  | m² | Straight-flight staircase formwork with shoring, up to 4.00 m height, steel props and form panels, treads and strings included | 4.4 | 29.3 |  |  |  |  | 1.32
3.3.3.7.3 | No | Fixed-end staircase, timber formwork |  |  | m² | Fixed-end staircase formwork with shoring, up to 4.00 m height, treads and stringer included, timber formwork | 5.8 | 55.6 |  |  |  |  | 2.5
3.3.3.7.4 | No | Stair landing, timber formwork |  |  | m² | Stair landing formwork with shoring, up to 4.00 m height, timber formwork | 3.8 | 22.2 |  |  |  |  | 1
3.3.3.8 | No | Core openings
3.3.3.8.1 | Yes | Blockouts and sleeves |  |  | m² | Forming concrete openings in walls and slabs, above 1 m², up to 25 cm concrete thickness | 2.3 | 38.2 |  |  |  |  | 1.72
3.3.3.8.2 | No | Opening formwork, below 0.50 m² |  |  | m² | Fabrication and installation of opening formwork in wall or slab formwork, opening size up to 0.50 m² | 13.2 | 94.4 |  |  |  |  | 4.25
3.3.3.8.3 | No | Opening formwork, above 0.50 m² |  |  | m² | Fabrication and installation of opening formwork in wall or slab formwork, opening size above 1.00 m² | 6.6 | 38.2 |  |  |  |  | 1.72
3.3.3.8.4 | No | Culvert formwork |  |  | m² | Formwork for protective channels, cable tunnels and culverts with timber, flat surface | 2.7 | 16.4 |  |  |  |  | 0.74
3.3.3.8.5 | Yes | Post-drilled core DN200 |  |  | db | Post-drilled core formation up to DN200 diameter | 0 | 0
3.3.4 | No | Formwork Accessories |  |  |  |  | 0 | 34.9
3.3.4.1 | No | Spacers
3.3.4.1.1 | No | Flat slab spacers |  |  | m² | Plastic spacers in RC slab under welded mesh or mesh reinforcement, U-type 25 mm | 0.2 | 2.7 |  |  |  |  | 0.12
3.3.4.1.2 | No | Wall and column spacers |  |  | m² | Plastic spacers in RC wall, star type 25 mm | 0.1 | 4.9 |  |  |  |  | 0.22
3.3.4.2 | No | Expansion joint elements
3.3.4.3 | No | Fixing plates
3.3.4.4 | Yes | Waterstop strip |  |  | m | Waterstop strip and installation at construction joint (foundation slab-wall, recess) | 0 | 0
3.3.4.5 | Yes | Fold-out connection elements
3.3.4.6 | Yes | Punching shear reinforcement elements
3.3.4.7 | Yes | Thermal break elements
3.4 | No | Load-bearing wall structures
3.5 | No | Steel Structures
3.5.1 | No | Sections / Purlins
3.5.1.1 | No | Structural steels
3.5.1.1.1 | Yes | Structural steel S235 |  | Weight (steel structure) | kg | S235 steel grade, fabrication of primary and secondary structural steelwork for single- or multi-storey buildings, excluding structural and production drawings, I or H section, diagonal hollow-section bracing, surface preparation | 3.2 | 1.8
3.5.1.1.2 | Yes | Structural steel S275 |  |  | kg | S275 steel grade, fabrication of primary and secondary structural steelwork for single- or multi-storey buildings, excluding structural and production drawings, I or H section, diagonal hollow-section bracing, surface preparation | 3.5 | 1.8
3.5.1.2 | No | Purlins
3.5.1.2.1 | No | Purlin, C90 / 2.00 mm |  |  | m | Z-C-Σ light steel frame system element installation, 70-90 purlins and wall rail, C 90/90/22 – 2.5 mm galvanized steel profile S 380 GD + Z 275 | 9.1 | 8 |  |  |  |  | 0.36
3.5.1.2.2 | No | Purlin, C90 / 3.20 mm |  |  | m | Z-C-Σ light steel frame system element installation, 70-90 purlins and wall rail, C 90/90/22 – 3.2 mm galvanized steel profile S 380 GD + Z 275 | 11.6 | 8 |  |  |  |  | 0.36
3.5.1.2.3 | Yes | Purlin, Z100 / 1.00 mm |  | Length | m | Z-C-Σ light steel frame system element installation, 100-105 purlins and wall rail, Z 100/41/47/1.0 galvanized steel rail S 350 GD + Z 275 | 5.4 | 8 |  |  |  |  | 0.36
3.5.1.2.4 | No | Purlin, Z100 / 2.00 mm |  |  | m | Z-C-Σ light steel frame system element installation, 100-105 purlins and wall rail, Z 100/41/47/2.0 galvanized steel rail S 350 GD + Z 275 | 7.8 | 8 |  |  |  |  | 0.36
3.5.1.2.5 | No | Purlin splice, CI100 / 1.00 mm |  |  | m | CI 100 purlin and wall rail splice, CI 100/36/42/1.0 galvanized splice beam S 350 GD + Z 275 | 7.1 | 7.8 |  |  |  |  | 0.35
3.5.1.2.6 | No | Purlin splice, CI100 / 1.50 mm |  |  | m | CI 100 purlin and wall rail splice, CI 100/36/42/1.5 galvanized splice beam S 350 GD + Z 275 | 7.8 | 7.8 |  |  |  |  | 0.35
3.5.2 | No | Roof and space enclosures
3.5.2.1 | No | Sandwich Panels
3.5.2.1.1 | No | Sandwich roof panel
3.5.2.1.1.1 | No | Sandwich roof panel, LTP 45/0.5/120/LVP20/0.4 |  |  | m² | Insulated trapezoidal roof structure on existing Z purlin framework, 12 cm insulation, LTP45/0.5/120/LVP20/0.4 sandwich roof, galvanized + 25 μm polyester coating, standard colour | 46.9 | 14.2 |  |  |  |  | 0.64
3.5.2.1.1.2 | No | Sandwich roof panel, LTP 45/0.6/120/LVP20/0.4 |  |  | m² | Insulated trapezoidal roof structure on existing Z purlin framework, 12 cm insulation, LTP45/0.6/120/LVP20/0.4 sandwich roof, galvanized + 25 μm polyester coating, standard colour | 51.5 | 14.2 |  |  |  |  | 0.64
3.5.2.1.1.3 | No | Sandwich roof panel, LTP 45/0.5/150/LVP20/0.4 |  |  | m² | Insulated trapezoidal roof structure on existing Z purlin framework, 15 cm insulation, LTP45/0.5/150/LVP20/0.4 sandwich roof, galvanized + 25 μm polyester coating, standard colour | 48.4 | 14.2 |  |  |  |  | 0.64
3.5.2.1.1.4 | No | Sandwich roof panel, LTP 45/0.5/Z120/LTP150/0.75 |  |  | m² | Insulated trapezoidal roof structure, high-profile type, 12 cm insulation, 150 mm high profile, LTP45/0.5/Z120/LTP150/0.75 sandwich roof, galvanized + 25/15 μm polyester coating, standard colour | 74.3 | 14.4 |  |  |  |  | 0.65
3.5.2.1.1.5 | No | Sandwich roof panel, LTP 45/0.5/Z120/LTP150/1.50 |  |  | m² | Insulated trapezoidal roof structure, high-profile type, 12 cm insulation, 150 mm high profile, LTP45/0.5/Z120/LTP150/1.50 sandwich roof, galvanized + 25/15 μm polyester coating, standard colour | 79.4 | 14.4 |  |  |  |  | 0.65
3.5.2.1.1.6 | No | Sandwich roof panel, LTP 45/0.5/Z150/LTP150/0.75 |  |  | m² | Insulated trapezoidal roof structure, high-profile type, 15 cm insulation, 150 mm high profile, LTP45/0.5/Z150/LTP150/0.75 sandwich roof, galvanized + 25/15 μm polyester coating, standard colour | 76.4 | 14.4 |  |  |  |  | 0.65
3.5.2.1.1.7 | No | Sandwich roof panel, LTP 45/0.5/Z150/LTP150/1.50 |  |  | m² | Insulated trapezoidal roof structure, high-profile type, 15 cm insulation, 150 mm high profile, LTP45/0.5/Z150/LTP150/1.50 sandwich roof, galvanized + 25/15 μm polyester coating, standard colour | 81.5 | 14.4 |  |  |  |  | 0.65
3.5.2.1.1.8 | No | Sandwich roof panel, rock wool, 120 mm, KS 1000 FF 120/0.6/0.5 |  |  | m² | Insulated sandwich panel roofing, exposed screw fixing, rock wool insulation, 120 mm thick, KS 1000 FF 120/0.6/0.5 roof panel, galvanized + 25/20 μm polyester coating, standard colour | 54.2 | 4.4 |  |  |  |  | 0.2
3.5.2.1.1.9 | No | Sandwich roof panel, rock wool, 200 mm, KS 1000 FF 200/0.6/0.5 |  |  | m² | Insulated sandwich panel roofing, exposed screw fixing, rock wool insulation, 200 mm thick, KS 1000 FF 200/0.6/0.5 roof panel, galvanized + 25/20 μm polyester coating, standard colour | 67.2 | 4.4 |  |  |  |  | 0.2
3.5.2.1.1.10 | No | Sandwich roof panel, PIR/PUR, 100 mm, KS 1000 RW 100/0.5/0.4 |  |  | m² | Insulated sandwich panel roofing, exposed screw fixing, PUR/PIR foam insulation, 100 mm thick, KS 1000 RW 100/0.5/0.4 roof panel, galvanized + 25/20 μm polyester coating, standard colour | 60.3 | 4.4 |  |  |  |  | 0.2
3.5.2.1.1.11 | No | Sandwich roof panel, PUR, 100 mm, KS 1000 XM 100 PVC/0.9 |  |  | m² | Insulated sandwich panel roofing, exposed screw fixing, polyurethane foam insulation with waterproof membrane, 100 mm thick, KS 1000 XM 100 PVC/0.9 roof panel, galvanized + 20 μm polyester coating, RAL 9002 | 80.2 | 13.3 |  |  |  |  | 0.6
3.5.2.1.2 | No | Sandwich wall panel
3.5.2.1.2.1 | No | Sandwich wall panel, 15 cm, LVP 20/0.5/150/LVP 20/0.4 |  |  | m² | Insulated wall cladding system on existing Z purlin framework, 15 cm insulation, LVP 20/0.5/150/LVP 20/0.4 sandwich wall, galvanized + Classic coating, standard colour | 45.6 | 13.3 |  |  |  |  | 0.6
3.5.2.1.2.2 | No | Sandwich wall panel, PIR/PUR, 120 mm, KS 1150 TF 120/0.5/0.4 |  |  | m² | External insulated sandwich wall panel, exposed screw fixing, PUR/PIR foam insulation, 120 mm thick, KS 1150 TF 120/0.5/0.4 wall panel, galvanized + 25/20 μm polyester coating, standard colour | 49.1 | 6 |  |  |  |  | 0.27
3.5.2.1.2.3 | No | Sandwich wall panel, PIR/PUR, 200 mm, KS 1150 NF 200/0.5/0.4 |  |  | m² | External insulated sandwich wall panel, exposed screw fixing, PUR/PIR foam insulation, 200 mm thick, KS 1150 NF 200/0.5/0.4 wall panel, galvanized + 25/20 μm polyester coating, standard colour | 94.3 | 6 |  |  |  |  | 0.27
3.5.3 | No | Surface treatment
3.5.3.1 | No | Hot-dip galvanizing
3.5.3.1.1 | No | Hot-dip galvanizing, 80–160 mm section height |  |  | kg | Hot-dip galvanizing of hot-rolled steel structures, 80–160 mm section height, light steel structures | 1 | 0 |  |  |  |  | 0
3.5.3.2 | No | Corrosion protection
3.5.3.2.1 | Yes | Corrosion protection coating, synthetic resin |  | Surface area | m² | Anti-corrosion primer on large steel structure, synthetic resin binder, solvent-based paint, white | 1.6 | 4.2 |  |  |  |  | 0.19
3.5.3.2.2 | No | Corrosion protection coating, epoxy resin, primer |  |  | m² | Anti-corrosion primer on large steel structure, two-component epoxy synthetic resin paint, high dry matter content, fast re-coatable primer | 2.2 | 4.2 |  |  |  |  | 0.19
3.5.3.3 | No | Fire protection
3.5.3.3.1 | No | Intumescent fire protection coating on steel, 2 mm, 30 min |  |  | m² | Intumescent coating on steel structure, up to 2 mm layer thickness, up to 30 min fire resistance, solvent-based intumescent paint | 9.5 | 7.3 |  |  |  |  | 0.33
3.5.3.3.2 | No | Intumescent fire protection coating on steel, 2 mm, 60 min |  |  | m² | Intumescent coating on steel structure, up to 2 mm layer thickness, up to 60 min fire resistance, solvent-based intumescent paint | 35.5 | 15.6 |  |  |  |  | 0.7
3.5.3.4 | No | Painting
3.5.3.4.1 | No | Steel surface intermediate coat, synthetic resin, primer |  |  | m² | Steel surface intermediate coat on large structure, synthetic resin binder, solvent-based paint, various colours | 1.2 | 5.1 |  |  |  |  | 0.23
3.5.3.4.2 | No | Steel surface intermediate coat, synthetic resin, enamel |  |  | m² | Steel surface intermediate coat on large structure, synthetic resin binder, solvent-based enamel, various colours | 0.6 | 5.1 |  |  |  |  | 0.23
3.5.3.4.3 | No | Steel surface finish coat, synthetic resin, enamel |  |  | m² | Steel surface finish coat on large structure, synthetic resin binder, solvent-based high-gloss enamel, various colours | 1.8 | 5.1 |  |  |  |  | 0.23
3.5.4 | No | Formwork Accessories
3.5.4.1 | No | Slabs |  | Manual |  |  | 4 | 5.1
3.5.4.2 | No | Bolts / Fasteners |  | Manual |  |  | 4 | 5.1
3.6 | No | Timber structures
4 | No | Architecture
4.1 | No | Partition walls
4.2 | No | Doors and windows
4.2.1 | No | Doors
4.2.2 | No | Windows
5 | No | Interior / Finishing
6 | No | MEP / Mechanical, Electric, Plumbing
6.1 | No | Water and Sewerage Network
6.1.1 | No | Water features
6.1.2 | No | General installation
6.1.3 | No | Pipe installation
6.1.4 | No | Fittings and equipment
6.2 | No | Heating and Cooling
6.2.1 | No | Heat pump units – heat centre
6.2.2 | No | Heat pump units – air handling units
6.2.3 | No | Fan coil units
6.2.4 | No | Calorific copper pipework
6.2.5 | No | General installation
6.2.6 | No | Pipe installation
6.2.7 | No | Fittings and equipment
6.3 | No | HVAC
6.3.1 | No | Ventilation installation
6.3.2 | No | Air handling units
6.3.3 | No | Power (high-current)
6.3.4 | No | Conduit and cable tray
6.3.5 | No | Cables / Conductors
6.3.6 | No | Lighting fittings
6.3.7 | No | Enclosed actuator and indicator unit
6.3.8 | No | Distribution equipment
6.3.9 | No | Light fixtures
6.3.10 | No | Lightning protection
6.4 | No | Building automation
6.5 | No | Fire protection equipment
7 | No | Technology / Special Equipment
7.1 | No | Production Technology
7.1.1 | No | Production lines, machine tools, robotics
7.1.2 | No | Industry 4.0 systems, CNC, machining
7.2 | No | Processing Systems
7.2.1 | No | Food, pharmaceutical and chemical process lines and equipment
7.2.2 | No | Packaging, separation, cleaning
7.3 | No | Storage and Materials Handling
7.3.1 | No | Cold storage, racking systems, automated warehouse
7.3.2 | No | Conveyor belts, cranes, package handling machines
7.4 | No | Utilities and Environment
7.4.1 | No | Steam, vacuum, compressed air, water, gas
7.4.2 | No | Ventilation, filtration and air conditioning
7.4.3 | No | Environmental protection systems
7.5 | No | Sector-specific Systems
7.5.1 | No | Animal husbandry and crop production
7.5.2 | No | Healthcare, laboratory and education
7.5.3 | No | Sports, logistics, research and mining
7.6 | No | Energy Systems / Energetika
7.6.1 | No | Solar PV, heat pump, biomass
7.6.2 | No | Energy storage, controllers, transformers
7.6.3 | No | Supporting Technology
7.7 | No | Supplementary automation and sensors
7.7.1 | No | Special equipment, control panels, safety systems
7.7.2 | No | Mobile technologies and temporary systems
Created by QuantBIM.

## Work Packages
Package ID | Parent Package ID | Package Name | Package Order | Item Order | Item Number | Quantity Source | Quantity Source Label | Quantity Source Technical | Unit | Package Source ID | Item Number Source | Quantity Source Raw | Quantity Source Label Raw | Quantity Source Technical Raw | Unit Raw | Item Name | Main Specs | Auto Quantity | Description | Material Price | Labor Price | Classification
Earthworks |  | Earthworks | 1 | [6 empty] | new_work_package_01_8
Gravel Bedding Preparation | Earthworks | Gravel Bedding Preparation | 1 | [6 empty] | new_work_package_01
Gravel Bedding Preparation | Gravel Bedding Preparation | Gravel Bedding Preparation | 1 | 1 | 2.3.2.3.2.1 | Volume | Volume | Volume | m³ | new_work_package_01 | 2.3.2.3.2.1 | Volume | Volume | Volume | m³ | NHK 0/63 gravel, incl. delivery | 0 | Volume | Soil improvement layer for buildings and structures using ungraded gravel (NHK 0/63), without compaction or surface levelling | 12.8 | 10.6 | 0
Gravel Bedding Preparation | Gravel Bedding Preparation | Gravel Bedding Preparation | 1 | 2 | 2.3.2.3.3.1 | Volume | Volume | Volume | m³ | new_work_package_01 | 2.3.2.3.3.1 | Volume | Volume | Volume | m³ | Compaction | 0 | Volume | Compaction by machine over large areas, any compaction class, 90% compaction degree | 0 | 1.6 | 0
Gravel Bedding Preparation | Gravel Bedding Preparation | Gravel Bedding Preparation | 1 | 3 | 2.3.2.3.3.2 | Area | Area | Area | m² | new_work_package_01 | 2.3.2.3.3.2 | Area | Area | Area | m² | Subgrade Levelling | 0 | Area | Subgrade levelling without compaction on flat surface, by machine with supplementary manual labour | 0 | 1.7 | 0
Excavation | Earthworks | Excavation | 2 | [6 empty] | new_work_package_01_9
Excavation | Excavation | Excavation | 2 | 1 | 2.3.2.3.1.1 | Earthwork mass, volume | Earthwork mass, volume | Earthwork mass, volume | m³ | new_work_package_01_9 | 2.3.2.3.1.1 |  |  |  |  | By machine with supplementary manual labour | 0 | Earthwork mass, volume | Excavation pit for buildings and structures in any consistency I–IV class soil, by machine with supplementary manual labour, base area 150.0–250.0 m², up to 5.5 m depth | 0 | 7.2 | 0
Excavation | Excavation | Excavation | 2 | 2 | 2.3.2.3.4.1 | Earthwork mass, volume | Earthwork mass, volume | Earthwork mass, volume | m³ | new_work_package_01_9 | 2.3.2.3.4.1 |  |  |  |  | Earth Pushing / Dozing | 0 | Earthwork mass, volume | Excavated earth pushing and spreading, up to 20.0 m distance | 0 | 1.8 | 0
Cast-in-Place Structures |  | Cast-in-Place Structures | 2 | [6 empty] | new_work_package_01_3
RC Pad Footings | Cast-in-Place Structures | RC Pad Footings | 1 | [6 empty] | new_work_package_01_7
RC Pad Footings | RC Pad Footings | RC Pad Footings | 1 | 1 | 3.3.1.1.5 | Volume | Volume | Volume | 0 | new_work_package_01_7 | 3.3.1.1.5 |  |  |  |  | C25/30 | 0 | Volume | 0 | 97.2 | 24.9 | 0
RC Pad Footings | RC Pad Footings | RC Pad Footings | 1 | 2 | 3.3.3.1.3 | Formwork, Pad footings | Formwork, Pad footings | Formwork, Pad footings | m² | new_work_package_01_7 | 3.3.3.1.3 |  |  |  |  | Column footing, four-sided | 0 | Formwork, Pad footings | Column footing four-sided formwork with timber, vertical or inclined face | 4.6 | 20.4 | 0
RC Foundation Slab | Cast-in-Place Structures | RC Foundation Slab | 2 | [6 empty] | new_work_package_01_10
RC Foundation Slab | RC Foundation Slab | RC Foundation Slab | 2 | 1 | 3.3.1.1.5 | Volume | Volume | Volume | 0 | new_work_package_01_10 | 3.3.1.1.5 |  |  |  |  | C25/30 | 0 | Volume | 0 | 97.2 | 24.9 | 0
RC Foundation Slab | RC Foundation Slab | RC Foundation Slab | 2 | 2 | 3.3.3.2.4 | Formwork, Edge slab | Formwork, Edge slab | Formwork, Edge slab | 0 | new_work_package_01_10 | 3.3.3.2.4 |  |  |  |  | Flat slab, slab edge formwork | 0 | Formwork, Edge slab | Slab edge formwork, vertical or inclined face, with slab openings, max. 40 cm height | 4 | 15 | 0
RC Floor Slabs | Cast-in-Place Structures | RC Floor Slabs | 3 | [6 empty] | new_work_package_01_6
RC Floor Slabs | RC Floor Slabs | RC Floor Slabs | 3 | 1 | 3.3.1.1.5 | Volume | Volume | Volume | 0 | new_work_package_01_6 | 3.3.1.1.5 | Volume | Volume | Volume | 0 | C25/30 | 0 | Volume | 0 | 97.2 | 24.9 | 0
RC Floor Slabs | RC Floor Slabs | RC Floor Slabs | 3 | 2 | 3.3.3.2.1 | Area | Area | Area | m² | new_work_package_01_6 | 3.3.3.2.1 | Formwork, Flat slab | Formwork, Flat slab | Formwork, Flat slab | m² | Flat slab formwork with shoring, shell panel, below 4.00 m | 0 | Area | Flat slab formwork with shoring, shell panel, below 4.00 m, for cast-in-place slab | 3.3 | 18.9 | 0
RC Floor Slabs | RC Floor Slabs | RC Floor Slabs | 3 | 3 | 3.3.3.2.4 | Formwork, Edge slab | Formwork, Edge slab | Formwork, Edge slab | 0 | new_work_package_01_6 | 3.3.3.2.4 | Formwork, Edge slab | Formwork, Edge slab | Formwork, Edge slab | 0 | Flat slab, slab edge formwork | 0 | Formwork, Edge slab | Slab edge formwork, vertical or inclined face, with slab openings, max. 40 cm height | 4 | 15 | 0
RC Columns | Cast-in-Place Structures | RC Columns | 4 | [6 empty] | new_work_package_01_2
RC Columns | RC Columns | RC Columns | 4 | 1 | 3.3.1.1.5 | Volume | Volume | Volume | 0 | new_work_package_01_2 | 3.3.1.1.5 | Volume | Volume | Volume | 0 | C25/30 | 0 | Volume | 0 | 97.2 | 24.9 | 0
RC Columns | RC Columns | RC Columns | 4 | 2 | 3.3.3.4.1 | Manual | Manual | Manual | m² | new_work_package_01_2 | 3.3.3.4.1 | Formwork, Column | Formwork, Column | Formwork, Column | m² | Column formwork, below 4.00 m | 0 | Manual | Column formwork, constant rectangular cross-section, panel formwork, hand-shifted, with bracing, up to 4.00 m height, max. 85 cm side dimension | 6.8 | 22.2 | 0
RC Walls | Cast-in-Place Structures | RC Walls | 5 | [6 empty] | new_work_package_01_4
RC Walls | RC Walls | RC Walls | 5 | 1 | 3.3.1.1.5 | Volume | Volume | Volume | 0 | new_work_package_01_4 | 3.3.1.1.5 | Volume | Volume | Volume | 0 | C25/30 | 0 | Volume | 0 | 97.2 | 24.9 | 0
RC Walls | RC Walls | RC Walls | 5 | 2 | 3.3.3.3.2 | Formwork, Double-sided wall | Formwork, Double-sided wall | Formwork, Double-sided wall | m² | new_work_package_01_4 | 3.3.3.3.2 | Formwork, Double-sided wall | Formwork, Double-sided wall | Formwork, Double-sided wall | m² | Double-sided wall formwork | 0 | Formwork, Double-sided wall | Double-sided wall formwork, vertical or inclined face (measured as formwork surface in contact with concrete, m²), panel formwork, hand-shifted, up to 4.00 m height | 4.1 | 20.4 | 0
RC Beams | Cast-in-Place Structures | RC Beams | 6 | [6 empty] | new_work_package_01_5
RC Beams | RC Beams | RC Beams | 6 | 1 | 3.3.1.1.5 | Volume | Volume | Volume | 0 | new_work_package_01_5 | 3.3.1.1.5 |  |  |  |  | C25/30 | 0 | Volume | 0 | 97.2 | 24.9 | 0
RC Beams | RC Beams | RC Beams | 6 | 2 | 3.3.3.5.1 | Formwork, Beam | Formwork, Beam | Formwork, Beam | m² | new_work_package_01_5 | 3.3.3.5.1 |  |  |  |  | Beam formwork, below 40 cm | 0 | Formwork, Beam | Beam formwork, side height up to 40 cm, panel formwork with shoring, combined with slab formwork, up to 4.00 m | 4.4 | 27.8 | 0
Steel Structures |  | Steel Structures | 3 | [6 empty] | new_work_package_01_11
Sections / Purlins | Steel Structures | Sections / Purlins | 1 | [6 empty] | new_work_package_01_12
Sections / Purlins | Sections / Purlins | Sections / Purlins | 1 | 1 | 3.5.1.1.1 | Weight (steel structure) | Weight (steel structure) | Weight (steel structure) | kg | new_work_package_01_12 | 3.5.1.1.1 |  |  |  |  | Structural steel S235 | 0 | Weight (steel structure) | S235 steel grade, fabrication of primary and secondary structural steelwork for single- or multi-storey buildings, excluding structural and production drawings, I or H section, diagonal hollow-section bracing, surface preparation | 3.2 | 1.8 | 0
Sections / Purlins | Sections / Purlins | Sections / Purlins | 1 | 2 | 3.5.3.2.1 | Surface area | Surface area | Surface area | m² | new_work_package_01_12 | 3.5.3.2.1 |  |  |  |  | Corrosion protection coating, synthetic resin | 0 | Surface area | Anti-corrosion primer on large steel structure, synthetic resin binder, solvent-based paint, white | 1.6 | 4.2 | 0
Created by QuantBIM.